| Form A1-2 : Application for connection of Fully Type Tested Integrated Micro Generation and Storage installations For Integrated Micro Generation and Storage installations, this simplified application form can be used where all of the following eligibility criteria apply: - The Power Generating Modules are located in a single Generator’s Installation; - The total aggregate capacity of the Power Generating Modules (including Electricity Storage devices) is between 16 A and 32 A per phase; - The total aggregate capacity of the Power Generating Modules that are Electricity Storage devices do not exceed 16 A per phase and the total aggregate capacity of the Power Generating Modules that are not Electricity Storage devices do not exceed 16 A per phase. Note that if the total aggregated capacity of Electricity Storage and non-Electricity Storage devices is no greater than 16 A per phase, the single premises procedure described in EREC G98 applies; - All of the Power Generating Modules (including Electricity Storage units) are connected via EREC G98 Type Tested Inverters (or EREC G83 Type Tested Inverters, where the Power Generating Module was installed prior to 27 April 2019) - An EREC G100 compliant export limitation scheme is present that limits the export from the Generator’s Installation to the Distribution Network to 16 A per phase; and - The Power Generating Modules will not operate when there is a loss of mains situation. DNOs may have their own forms; refer to the DNO’s websites and online application tools. If the Power Generating Module is registered with the ENA Type Test Verification Report Register, the application should include the Manufacturer’s reference number (the Product ID). If all the eligibility criteria apply the DNO will confirm that the installation can proceed. The planned commissioning date stated on the application shall be within 10 working days and 3 months from the date the application is submitted. On completion of the installation the Installer shall submit the commissioning sheets, as required in EREC G100 alongside the EREC G99 forms. |  |
| --- | --- |
| To ABC electricity distribution DNO 99 West St, Imaginary Town, ZZ99 9AA abced@wxyz.com |  |
| Generator Details: |  |
| Generator (name) |  |
| Address |  |
| Post Code |  |
| Contact person (if different from Generator) |  |
| Telephone number |  |
| E-mail address |  |

| MPAN(s) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Installer Details (Generation): |  |  |  |  |  |  |  |  |  |
| Installer |  |  |  |  |  |  |  |  |  |
| Accreditation / Qualification |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |
| Contact person |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  |  |  |  |  |  |  |
| E-mail address |  |  |  |  |  |  |  |  |  |
| Installer Details (Electricity Storage, if different from above): |  |  |  |  |  |  |  |  |  |
| Installer |  |  |  |  |  |  |  |  |  |
| Accreditation / Qualification |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |
| Contact person |  |  |  |  |  |  |  |  |  |
| Telephone Number |  |  |  |  |  |  |  |  |  |
| E-mail address |  |  |  |  |  |  |  |  |  |
| Installation details: |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |
| Post Code |  |  |  |  |  |  |  |  |  |
| MPAN(s) |  |  |  |  |  |  |  |  |  |
| Details of Existing PGMs – where applicable: |  |  |  |  |  |  |  |  |  |
| Manufacturer | Approximate Date of Installation | Technology Type (e.g. Solar, Wind, Biomass, Diesel/CHP) |  | Manufacturer’ s Ref No. where available | PGM Registered Capacity (kW) |  |  |  |  |
|  |  |  |  |  | 3 - phase units | Single Phase Units |  |  | Power Factor |
|  |  |  |  |  |  | PH1 | PH2 | PH3 |  |

| Details of Proposed Additional Generating Unit(s) (including Electricity Storage): |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Manufacturer | Approximate Date of Installation | Technology Type (e.g. Solar, Wind, Biomass, Diesel/CHP, Electricity Storage) | Manufacturer’ s Ref No. where available | Generating Unit Capacity (kW) |  |  |  |  |
|  |  |  |  | 3- phase units | Single Phase Units |  |  | Power Factor |
|  |  |  |  |  | PH1 | PH2 | PH3 |  |
| Please confirm all of the statements are true by ticking each box: |  |  |  |  |  |  |  |  |
| The Power Generating Modules are located in a single Generator’s Installation. |  |  |  |  |  |  |  |  |
| The total aggregate capacity of the Power Generating Modules (including Electricity Storage units) is between 16 A and 32 A per phase. |  |  |  |  |  |  |  |  |
| The total aggregate capacity of the Power Generating Modules that are Electricity Storage devices do not exceed 16 A per phase and the total aggregate capacity of the Power Generating Modules that are not Electricity Storage devices do not exceed 16 A per phase. |  |  |  |  |  |  |  |  |
| All of the Power Generating Modules (including Electricity Storage devices) are connected via EREC G98 Type Tested Inverters (or EREC G83 Type Tested Inverters, where the Power Generating Module was installed prior to 27 April 2019) |  |  |  |  |  |  |  |  |
| An EREC G100 compliant export limitation scheme is present that limits the export from the Generator’s Installation to the Distribution Network to 16 A per phase; and |  |  |  |  |  |  |  |  |
| The Power Generating Modules will not operate when there is a loss of mains situation. |  |  |  |  |  |  |  |  |
| The following information should be submitted with the application: |  |  |  |  |  |  |  |  |
| Copy of single line diagram of export limitation scheme |  |  |  |  |  |  |  |  |
| Explanation / description of export limitation scheme operation including a description of the fail-safe functionality eg the response of the scheme following failure of a: - Power monitoring unit - Control unit - Power Generating Module interface unit - Demand control unit - Communication equipment Note, fail-safe tests are not required at installations where all Generating Units are EREC G83 or EREC G98 Type Tested, aggregated capacity is not more than 32 A per phase and export capacity is limited to 16 A per phase. |  |  |  |  |  |  |  |  |
| Additional details: |  |  |  |  |  |  |  |  |

| Target date for provision of connection / commissioning of Electricity Storage devices:* |  |  |
| --- | --- | --- |
| EREC G100 compliance declaration / EREC G100 Type Test reference as applicable: |  |  |
| Signed : |  | Date : |
| Use continuation sheet where required. Record Power Generating Module Registered Capacity kW at 230 AC, to one decimal place, under PH1 for single phase supplies and under the relevant phase for two and three phase supplies. Include a schematic diagram for the proposed scheme. *The planned commissioning date shall be at least 10 working days from the date of application but not more than 3 months in advance (connection offers are only valid for 3 months). |  |  |